## 基礎
基礎等級 |  |  | 達成基礎等級，您必須勾選所有藍色方塊（如適用）
步驟 1 | 為永續建築制定計畫 | 完成YES 未完成NO 不適用N/A
• 制定永續計劃，確定簡易工項、維護項目和資本專案。
• 收集資訊，每月記錄能源使⽤。
步驟 2 | 建築絕緣：以減少能源需求
• 確定屋頂、陽台和牆壁隔熱的簡單工項（如果有），下訂單並列出後續步驟。
• 確定升級門窗的簡單工項（如果有），下訂單並列出後續步驟。
步驟 3 | 設備能效：以減少能源使用
• 盡可能了解有關暖氣和冷氣系統的所有資訊。確定簡單工項（例如更好的計時器、恆溫器和控制裝置），下訂單並列出後續步驟。
• 列出您所有的照明系統及其控制⽅式。確定簡單工項（例如動態感知器或計時器），下訂單並列出後續步驟。
• 盡可能了解有關熱水系統的所有資訊。確定簡單工項（例如更好的計時器、恆溫器和控制裝置），下訂單並列出後續步驟。
• 盡可能了解通⾵系統的所有資訊。確定簡單工項（例如更好的計時器和二氧化碳探測器），下訂單並列出後續步驟。
• 盡可能了解其他系統（電梯、伺服器、保全、餐飲設備、電器等）。確定簡單工項，下訂單並確定後續步驟。
步驟 4 | 再生能源：以生產再生能源
• 研究再生能源發電系統（太陽能板、太陽能電池或（較少見的）⾵力發電機），並確定後續步驟。
• 研究熱泵作為鍋爐和冰水機的替代品，並確定後續步驟。
• 如果可能，改⽤綠電。
步驟 5 | 支持生物多樣性並減少用水
•盡可能在建築物周圍安裝花盆。確認新種植區域或綠屋頂的可行性。
• 盡可能安裝收集⾬水的設施。
備註
「下訂單」意味著工作肯定會進行。
包括您在過去 5 年中完成的簡易工項。

## 中階
中階等級 |  |  | 達成中階等級，您必須勾選所有黃色方塊（如適用）
步驟 1 | 為永續建築制定計畫 | 完成YES 未完成NO 不適用N/A
• 根據專業建議展開永續計畫。完成「簡易工項」並落實維修項⽬。
• 如果可能，請安裝分錶以清楚顯⽰能源的使⽤地點。
步驟 2 | 建築絕緣：以減少能源需求
• 確定屋頂、陽台和牆壁隔熱的維護項⽬（如果有），下訂單並列出後續步驟。
• 確定升級門窗的維護項⽬（如果有），下訂單並列出後續步驟。
步驟 3 | 設備能效：以減少能源使用
• 確定暖氣和冷氣系統的維護項⽬，並下訂單。
• 確定照明系統的維護項⽬，並下訂單。
• 確定熱水系統的維護項⽬，下訂單。
• 確定通⾵系統的維護項⽬，並下訂單。
• 確定其他系統的維護項⽬，並下訂單。
步驟 4 | 再生能源：以生產再生能源
• 尋求專業建議以確認再生能源系統的可行性，並確定後續步驟。
• 尋求專業建議以確認熱泵替代鍋爐和冰水機的可行性，並確定後續步驟。
• 確定可以從化石燃料轉成電⼒的系統。
步驟 5 | 支持生物多樣性並減少用水
• 設置新的種植區域。尋求專業建議以確認綠屋頂的可行性，並確定後續步驟。
• 確定減少⽤水量的維護項⽬，並下訂單。
備註
「下訂單」意味著工作肯定會進行。
包括您在過去 5 年中完成的維修項目。

## 進階
進階等級 |  |  | 達成進階等級，您必須勾選所有綠色方塊（如適用）
步驟 1 | 為永續建築制定計畫 | 完成YES 未完成NO 不適用N/A
• 進行資本專案以落實您的永續計劃，籌集資金並視需求獲得相關許可。
•監控能源記錄，將預定節能目標與實際結果進行⽐較。
步驟 2 | 建築絕緣：以減少能源需求
• 進行⼀切可能的⼯項以改善屋頂、陽台和牆壁的絕緣效果。
•進行所有可能的⼯項來升級門窗。
步驟 3 | 設備能效：以減少能源使用
• 進行所有⼯項，使您的暖氣和冷氣系統盡可能節能。
•進行所有⼯項，使您的照明系統盡可能節能。
•進行所有⼯項，使您的熱水系統盡可能節能。
• 進行所有⼯項，使您的通⾵系統盡可能節能。
• 進行所有⼯項，使您的其他系統盡可能節能。
步驟 4 | 再生能源：以生產再生能源
• 安裝再生能源發電系統（如果它是您的永續計畫的⼀部分）。
• 請在可行的情況下安裝熱泵（如果它是您的永續計畫的⼀部分）。
• 盡可能將系統從化石燃料轉換為電⼒。
步驟 5 | 支持生物多樣性並減少用水
•在可行的情況下設置花盆、種植區和綠屋頂。
• 盡可能安裝⾬水或灰水回收系統。

## 建築檢核表
劇場綠皮書 • 建築檢核表 |  | 本版本先將較不適用於台灣建築的項目隱藏，主要供工作坊使用，尚在修訂中非定案版本。
發布日期: | 240910 (simplified version with detail replaced by examples)
閱讀問題欄中的問題。
如果答案是否定的（因為您已經完成了這項工作，或者它與您的建築物無關），請刪除或隱藏整行（右鍵單擊該行並選擇「隱藏」）。
如果答案是「是」（或「可能」），請在「位置」欄位中說明該位置。
如果您有多個地點，請建立額外的行（右鍵單擊該行並選擇「插入」）。
綠色專案 | 問題 | 位置 | 行動 | 下一步 | 備註
1 簡易工項
建築絕緣
Simple roof insulation | Do you have an attic where you could easily install rolls of insulation? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Install roof insulation | Find a builder to inspect and quote | Don't cover fixings or equipment which you need to inspect from above. For example, historic plaster ceilings often need to be inspected from the attic above, and insulation can make this harder.
Cavity wall insulation | Do you have a mid-20th century buidling with 'cavity walls' (i.e. walls constructed with two thicknesses of brick and a gap behind them)? | ditto | Inject cavity wall insulation | Find a specialist builder to inspect and quote | If you're not sure, get professional advice. Seek professional advice if your walls are exposed to heavy rainfall or flooding, as cavity wall insulation can make them less waterproof.
例：門的防風設計 | 您的大門沒有防風措施？ | 如果“否”，則刪除該行。如果「是」（或「可能」），請說出位置（例如「劇院屋頂」或「整棟大樓」）。如有多個位置，請插入額外的行。 | 安裝防風裝置 | 尋找廠商進行檢查並報價
EXAMPLE: Draught-proofing to windows | Do you have external windows with no draught-proofing? | ditto | Install draught-proofing | Find a builder to inspect and quote
'Air curtains' to entrance doors | Do you have external doors which are often open, and where you can't build a draft lobby or fit revolving doors? | ditto | Install an "air curtain" to prevent heat loss | Find a builder to inspect and quote | An air curtain creates a barrier of hot air over an entrance. Pipework and cabling in historic spaces will need careful design and planning.
設備能效
Voltage optimisation | Do you have an electricity supply with no voltage optimisation? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Install voltage optimisation | Find an electrcial contractor to inspect, advise and quote | Voltage optimisation reduces energy consumption by managing the voltage drawn from mains supplies.
EXAMPLE: 'Smart' heating controls | Could you fit thermostats and timers to make sure you’re only cooling rooms that are in use (and not over-cooling them)? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Install thermostats and timers | Find a builder to inspect, advise and quote
EXAMPLE: Building Management Systems | Do you have a Building Management System (BMS) (computer control of your building services)? | ditto | Use BMS to analyse energy use and identify changes to use less energy. Upgrade it if necessary. Make sure staff know how it works | Find a professional to analyse data and propose changes | Requires professional consultant. More appropriate to complex systems.
Thermostatic radiator valves (standard or 'smart') | Do you have radiators which have no control on how hot they get? | ditto | Install Thermostatic Radiator Valves | Find a builder to inspect, advise and quote | Helps control individual spaces more effectively and remotely.
例：照明控制 | 您是否有即使不需要的燈也亮著，例如在走廊或開放式辦公室？ | 同上 | 安裝日光感應器以在不需要時關閉燈光，或安裝佔用感應器以僅在房間內有活動時打開燈光 | 尋找廠商進行檢查、提供建議和報價
Hot water operating hours | Does your water heat up even if it's not needed? | ditto | Adjust heating times to match patterns of use. If your controls won't let you do that, upgrade the controls | Find a builder to inspect, advise and quote
Hot water tank and pipe insulation | Do you have uninsulated hot water tanks or hot water pipework? | ditto | Install insulation | Find a builder to inspect, advise and quote
Hot water flow restrictors on taps and showers | Do you have old taps in your toilets and showers? | ditto | Install restrictors so you use less hot water | Find a builder to inspect, advise and quote | You may also consider 'auto-stop' taps. Flow restrictors also help reduce how much water you use.
CO2-controlled ventilation to auditorium | Do you have a mechanical ventilation system in your auditorium? Does it run whenever the auditoium is occupied? | ditto | Install CO2 sensors and controls, so the ventilation system only runs when people need fresh air | Find a builder to inspect, advise and quote | People only need fresh air when CO2 levels start to build up. You don't need to run ventilation all the time.
Mechanical ventilation filters | Is your mechanical ventilation system serviced only occasionally? | ditto | Clean filters regularly | Discuss with your maintenance engineers | Well-maintained ventilation runs more efficiently.
Appliances such as fridges and washing machines | Do you have old fridges, washing machines and other appliances? | ditto | Replace with new, low-energy appliances | Research alternatives online | Only change appliances if they're old. Consider engaging with the local community to re-use the old appliances, if still functional.
再生能源 | none
生物多樣性與用水
例：花盆 | 您可以在建築物周圍安裝花盆嗎？ | 如果“否”，則刪除該行。如果「是」（或「可能」），請說出位置（例如「劇院屋頂」或「整棟大樓」）。如有多個位置，請插入額外的行。 | 安裝花盆 | 研究植物以支持當地物種
Bird nesting and bat boxes, and 'bug hotels' | Are there locations where you could intall nesting boxes, bat boxes or 'bug hotels'? | ditto | Install nesting and bat boxes, and 'bug'hotels' | Research local species likely to benefit
EXAMPLE: Rainwater butts | Could you install rainwater butts to collect rainwater? | ditto | Install rainwater butts | Find a builder to inspect, advise and quote | Rainwater butts need overflows to discharge into drains
2 維修項目
建築絕緣
Secondary double-glazing | Do you have single-glazed windows which you can't replace with new windows? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Install secondary glazing to reduce heat loss | Find a specialist builder to inspect, advise and quote | You may need historic building permission. Needs very careful design to suit the appearance of historic windows, but avoids window replacement.
例如：旋轉門或自動門 | 您是否有經常打開的外門導致能量逸散的狀況？ | 同上 | 檢查是否可以安裝旋轉門或自動門以減少熱量損失 | 尋找建築師提供建議 | 由於某些原因，旋轉門通常無法落實，對於部分場地和使用輪椅的觀眾來說也不便利。因此自動門可能是較好的替代方案
設備能效
Room layout | Could you move offices and other rooms so as to reduce how much of the building you need to heat, light or cool at different times? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Make room changes and adjust controls | Carry out a study of how each space is used | Examples: Locate offices used at night in one part of the building, so heating and lighting can be switched off elsewhere. Locate stores away from sunlight so you don't have to cool them.
Heating zones | Do you have a heating system which isn't divided into separate zones? | ditto | Install heating zone valves | Find a builder to inspect, advise and quote
Local electric heaters | Do you have areas which are heated off the radiator system, but aren't often used? | ditto | Install local electric heaters with smart controls | Find a builder to inspect, advise and quote | Useful in spaces which aren't much used. It's better to heat one space locally, than heat the whole zone
EXAMPLE: Upgrade pumps and fans to more efficient models | Does your heating or ventilation system have old fans and pumps? | ditto | Upgrade any 'constant speed' pumps or fans to 'variable speed' | Find a builder to inspect, advise and quote | Most new fans and pumps are variable speed. It may be possible to retrofit an invertor to existing pumps and fans. This change needs '2-port control valves', and will need to be professionally commissioned
例如：LED 照明 | 您的建築物內有舊的鎢絲燈或鹵素燈嗎？ | 同上 | 逐步將每個區域更換為 LED 燈，以減少能源使用 | 線上研究照明。尋找廠商進行檢查、提供建議和報價 | LED 照明產生的熱量也較少，因此也會減少用於冷卻的能量。
Convert stage lights from Tungsten to LED | Do you have old stage lighting? | ditto | Gradually switch to new LED stage lighting | Draw up a costed plan for gradual switch-over | Needs auditorium to be closed. Consider recycling the old tungsten lights to local community theatres
Upgrade dimmer racks to more efficient units | Do you have old dimmer racks? | ditto | Upgrade dimmer racks | Draw up a costed plan for gradual replacement
Replace domestic hot water tanks with instantaneous point-of-use water heaters | Are your hand basins and showers served by a central hot water tank and boiler? | ditto | Gradually replace the hot water supply to handbasins and showers with local instantaneous water heaters | Find a mechanical engineer to review and advise | Local electric water heating is often better for theatres than distributing hot water around the building, and helps transition to electric heating. This change is less effective if you have a large hot water usage
Upgrade air handling units to include an integrated air-source heat pump | Do you have a ventilation system with old air handling units? | ditto | Upgrade units to include an integrated air-source heat pump that draws energy from the warm 'waste' air | Find a mechanical engineer to review and advise | Reclaims heat from exhaust air. Could be used to heat water for showers. Any new equipment may need heritage consent. Check you have space for the equipment, and that roofs or floors can bear the extra weight. The supply and extract points need to be close together
Electric and heating sub-meters | Do you need more information on energy use to make decisions about priorities for sustainability? | ditto | Install electric and heat sub-meters to show where you’re using most energy | Find an electrical engineer to review and advise
Upgrade lift motors to more efficient models | Do you have lifts more than ten years old? | ditto | Upgrade lift motors to more efficient motors | Seek advice from your maintenance engineers | Only worth doing if lifts are used frequently
再生能源 | 無
生物多樣性與用水
EXAMPLE: Waterless urinals | Could you replace urinals with waterless urinals? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Gradually replace urinals with waterless urinals | Find a builder to inspect, advise and quote
例：水龍頭上的限流器 | 您可以用低流量水龍頭更換水龍頭，或安裝限流器嗎？ | 同上 | 逐漸更換水龍頭或安裝限流器 | 尋找廠商進行檢查、提供建議和報價
3 資本專案
建築絕緣
Pitched roof insulation | Do you have pitched (sloping) roofs which are not insulated? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Fit insulation to the underside of the roof slope, OR replace the roof | Find an architect for professional advice | Needs careful detailing to avoid condensation. May need historic building consent
Flat roof insulation | Do you have flat roofs which are not insulated? | ditto | Re-roof, installing better insulation | Find an architect for professional advice | The edges of the roof will change if the roof gets thicker, and needs careful design. Historic buildings may need permission
Other roof or balcony insulation | Do you have covered areas, balconies, or projections which need insulating? | ditto | Fit insulation to create a continuous 'blanket' of insulation around the building | Find an architect for professional advice | Historic building permission may make this difficult
External wall insulation | Do you have external walls where you could apply insulated cladding? | ditto | Apply external cladding to insulate the building | Find an architect for professional advice | Impossible for most historic facades, but may be applicable to back of house or secondary facades
Wall insulation - internal linings | Do you have plain internal areas where you could line the external walls on the inside? | ditto | Apply internal insulating linings | Find an architect for professional advice | Impossible in historic areas with cornices and other mouldings. May be achievable in back of house areas, but check that important dimensions like escape widhths aren't compromised. Internal wall insulation may result in condensation risk. Seek specialist advice
例如：增加牆壁/地板/屋頂連接處周圍的氣密性 | 您的建築物是否「漏氣」、有寒冷區域和穿堂風？ | 同上 | 進行建築工程以提高氣密性 | 找一位測量員對建築物進行紅外線測量，顯示熱損失最嚴重的區域 | 通常在需要重大整修時進行。如果改善氣密性，則還需要改善通風
Draught lobbies to external doors | Do you have external doors which are often open, where you could build a draught lobby to prevent heat loss? | ditto | Install draught lobbies on external entrances wherever possible | Find an architect for professional advice | Often not possible for historic building main entrances. May be possible in secondary entrances, or get-ins
Replacement windows with triple- or double-glazing | Do you have single-glazed external windows which could be replaced with new windows? | ditto | Replace single-glazed with new triple- or double-glazed windows | Find an architect for professional advice | May be possible if windows need replacing anyway. But triple-glazed windows have thicker frames , so careful design will be needed to avoid changing historic appearance, and in some cases this won't be possible. Historic buildings may still be able to have secondary glazing
Sky-lights to improve daylight | Do you have dark rooms where you could install a skylight or roofights to give natural light? | ditto | Install skylights or rooflights | Find an architect for professional advice | Helps to reduce lighting consumption. Likely to need historic building consent
設備能效
Room layout | Could you change layout so as to reduce how much of the building you need to heat, light or cool at different times? | If NO, delete the line. If YES (or MAYBE), name the location in this cell (e.g. 'Auditorium Roof' or 'Whole Building'). For several locations, make extra rows. | Redesign layout | Find an architect to explore layout options | Examples: Locate offices used at night in one part of the building, so heating and lighting can be switched off elsewhere. Locate stores away from sunlight so you don't have to cool them.
District heat networks | Is there a local district heating system you could connect to? | ditto | Connect to district heating to save energy | Find a mechanical engineer to explore feasibility and commence discussions with the district heating managers | Contact your council or local engineer to see if there is a district heating main that runs close to the theatre. Space will be needed for plate heat exchangers
Sustainable heating systems : larger radiators that work at lower temperatures | Can you fit more and larger radiators in some areas? | ditto | Install more and larger radiators as part of a scheme to install a heat pump or electric radiator system | Find a mechanical engineer to design a sustainable heating system | Heat pumps work at lower temperatures than boilers, so they need larger radiators. This may be impossible in historic spaces, but possible in areas like dressing rooms
Sustainable heating systems: under-floor heating that works at lower temperatures | Do you have areas where you could install under-floor heating? | ditto | Install low temperature underfloor heating as part of a scheme to install a heat pump or electric heting system | Find a mechanical engineer to design a sustainable heating system | Consider accessibility issues of potential raised floors. Unlikely to be possible with existing historic floors, but worth considering for any reconstructed or new structures.
Mechanical ventilation with heat recovery (MVHR) | Do you have ventilation systems which simply expel 'waste' air to the outside without reclaiming heat? | ditto | Replace them with Mechanical Ventilation and Heat Recovery to avoid wasting energy | Find a mechanical engineer to design a sustainable ventilation system | Needs an air inlet and outlet. Additional risers may be required. Any new equipment may need heritage consent. Check you have space for the equipment, and that roofs or floors can bear the extra weight
例：從自然通風空間改為有能量回收的機械通風 | 您有寬敞的自然通風空間嗎？ | 同上 | 升級為能量回收的機械通風設備 | 尋找機械工程師探索可行性並設計永續的通風系統 | 通往外立面的管道系統需要仔細設計。首先需要改進氣密性，例如增強玻璃
Waste water heat recovery system | Do you have a hot water system without heat recovery? | ditto | Install heat recovery systems | Find a mechanical engineer to explore feasibility and design a heat recovery system | 'Reclaims' the heat lost down the shower drain and pre-heats the new water. Only suitable for theatres with very high hot water use
EXAMPLE: Displacement ventilation to the auditorium | Does your auditorium have a traditional ventilation system (i.e. with air being pumped in from the ceiling and walls, rather than coming in below the seats)? | ditto | Change the ventilation system to a displacement system, if space can be found for ductwork | Find an architect and mechanical engineer to explore feasibillity and design a sustainable ventilation system | Supplying air to the bottom of each seat in a slow and controlled way is the best way to heat and cool an auditorium. It can be difficult in historic auditoriums to duct air to below seats. Any visible new vents and grilles will need very careful design
再生能源
例如：太陽能 (PV) 電池 | 您是否有可以進行維護且可以安裝太陽能板的無遮蔽屋頂？ | 如果“否”，則刪除該行。如果「是」（或「可能」），請說出位置（例如「劇院屋頂」或「整棟大樓」）。如有多個位置，請插入額外的行。 | 安裝太陽能 (PV) 或太陽能熱（見下文）電池 | 尋找建築師和永續工程師來探索可行性並設計合適的系統 | 屋頂結構可能需要額外的支撐。歷史建築可能需要經過同意。在用太陽能電池板覆蓋屋頂之前，請確保屋頂已絕緣並修復/更新。您主要在白天太陽出來時使用該建築嗎？如果沒有，請考慮使用電池技術來供電。尋求專業協助來確定係統的規模和設定。
Batteries | Are you installing Photovoltaic (PV) cells? And is most of your energy used in the evening or at night? | ditto | Install batteries to charge during the day and discharge at night | Find an architect and sustainability engineer to explore feasibillity and design an appropriate system | This is relatively new technology for buildings. The hardest issue will be finding space to locate batteries
Solar thermal cells | Do you have unshaded roofs, which can be reached for maintenance, where you could install solar panels? | ditto | Install solar thermal cells to heat hot water | Find an architect and sustainability engineer to explore feasibillity and design an appropriate system | High hot water demand required. Seek professional help to size and specify the system. Listed Building Consent will probably be needed. Make sure roofs are insulated and repaired / replaced before covering them with solar panels.
Replace gas/oil boilers with a heat pump (air-source, water-source or ground-source). Seek professional advice. | Do you have old gas or oil-powered boilers? | ditto | Replace boilers with an Air Source Heat Pump (ASHP) or Ground Source Heat Pump (GSHP) | Find an architect and sustainability engineer to explore feasibillity and design an appropriate system | Replace old boilers at the end of their life. You'll need to insulate the building, fit larger radiators and pipes, and check electrical supply capacity. Any new equipment may need heritage consent. Check you have space for the equipment, and that roofs or floors can bear the extra weight. Air-Source Heat Pumps are the most common replacement for boilers. Ground-Source Heat Pumps need external space
Replace gas/oil boilers with a biomass boiler | Are you located in the countryside, with access to sustainable biomass fuel? | ditto | Replace boilers with a biomass boiler | Find an architect and sustainability engineer to explore feasibillity and design an appropriate system | Sustainable wood supply is essential. Clean air requirements mean biomass boilers aren't usually installed in towns. Storage space is needed for fuel
生物多樣性與用水
景觀 | 您建築物的周圍擁有景觀嗎？ | 如果“否”，則刪除該行。如果「是」（或「可能」），請說出位置（例如「劇院屋頂」或「整棟大樓」）。如有多個位置，請插入額外的行。 | 重新設計景觀以支持生物多樣性 | 尋找景觀設計師探索可行性並設計景觀以支持生物多樣性
例：綠屋頂 | 您是否有易於維護的平屋頂？ | 同上 | 安裝綠屋頂 | 尋找建築師和永續工程師來探索可行性並設計合適的系統 | 您需要檢查屋頂能否承受額外的重量；便於維護；屋頂覆蓋物和隔熱層需要是新的，或者經過精心修復
備註
對於因應用或使用劇院綠皮書及其內容而間接或直接造成的任何損害，劇院綠皮書及其作者和贊助商均不承擔任何責任。對於劇場綠皮書中所含建議的準確性、可靠性、完整性或適用性，我們不提供任何保證或暗示。我們真誠地提供本工具目的在幫助戲劇製作從業人員能更永續的進行製作，但使用內容的風險和責任完全由用戶承擔。